## Slide 1: Contrast loss and radiation damage of cryoEM images
Szu-Chi Chung
Institute of Statistical Science, Academia Sinica

## Slide 2: Introduction
Per-frame analysis
  Motion estimation
  CTF estimation
  Relative contrast

## Slide 3: Movie Stacks [2]
The ability to collect movies allows us to quantify specimen movement and analyze the radiation damage
Frame 1 2 3 4 5 6 7 8 9 10
Notes: Specific resolution k
Eletron microscope
High reso are destroy first
單張 多張

## Slide 4: Dose Weighting – Empirical on crystal data [2]
Fall-off of intensity versus exposure
  Direct measure diffraction spot
  Single exponential decay
  Holds for image series
Notes: Higher resolution, exposure less
High resolution give early frame more weight!
Hydrated ice 2d image
Crystal specimen in ice direct measure
過氧化氫酶

## Slide 5: Dose Weighting – Empirical on single particle data[3]
Rotavirus VP6 (Large size and high symmetry)
  Total exposure of 100 electrons, split over 130 frames
  From 28-130 frame, the movement was almost constant by Unblur
  Use every 3 frame to do reconstruction
  Use for estimating SNR
frame 28
frame 130
Use above plot to give weights to each frame
Notes: VP6
Few particles can obtain 3A

## Slide 6: Deal with radiation damage
Unblur, MotionCor2 use dose weighting at the beginning
Particle polishing use the final 3D structure information to obtain weight and do a second pass of processing flow

## Slide 7: Guinier Plot [1]
Contrast loss
  Radiation damage, specimen movement, particle flexibility, heterogeneity
  Model as
Sharpening
  Multiplied by ()
Notes: 0.28 Solvent contrast
PSSNR

## Slide 8: Particle polishing – B factor weighting from data [4]
Plot the relative Guinier plot using
  Use individual frame to do reconstruction to obtain
  Fit line from to to obtain slope and intercept
and
Notes: 從b factor來看訊號damage another view
10-20 enough signal
40 frame -> 80 reconstructions
B factor quantify residue motion

## Slide 9: Particle polishing – B factor weighting from data [4]
Weighted by
Notes: Cf frequency independent component
Bf fall-off of high frequency component

## Slide 10: Bayesian Polishing – B factor weighting from data [5]
Define Fourier-cylinder correlation (FCC)
  Frame , particle , micrograph , particle shift
  Fit FCC using
    is the amount of signal of reference in each frequency
Notes: Model both radiation damage and residual motion that is not corrected for
Dk equals to eb average fscavrage initial?

## Slide 11: Could per-frame analysis used to estimating B-factor
We are interested in the relative SNR changes between frames
Could we estimated B-factor from frames without 3D reference?
  For each denoised frame
  Estimated B factor directly from particle images of each denoised frame
Notes:     Inner product with and particles (mrcs with each eigen images weighted eigen value?)
    Take L2 norm of all particles in step 2
    Frequency, size? Individual basis? (convolve use direct variance?)
    Inner product with 𝐵"⊗" 𝐴 and particles (mrcs with each eigen images weighted eigen value?)
    Take L2 norm of all particles in step 2

## Slide 12: Recent Experiments

## Slide 13: CWF_Denosing [6]
80S Ribosome (Down-sample)
  Box size: 35x35
  Number of images: 1000
  Simulated
Simulation data
SNR =1
SNR =0.1
Original
Denoised

## Slide 14: Manifold_Denosising [7]
Betagal

## Slide 15: Manifold_Denosising [7]
70S Ribosome

## Slide 16: Test Outlier for 2SDR Reconstruction
Add 100 outlier to 70S Ribosome dataset
Direct Project
Denoise

## Slide 17: Test Outlier for 2SDR Reconstruction
Add 100 outlier to Betagal dataset

## Slide 18: Movie processing
Single frame
Original
2SDR

## Slide 19: Movie processing
Contrast enhancement
Original
2SDR

## Slide 20: Movie processing
Motion corrected averaged
Original
2SDR

## Slide 21: Movie processing
Contrast enhancement for motion corrected averaged
Original
2SDR

## Slide 22: Movie processing
Further contrast enhancement on motion corrected averaged
Warp Deconvolve [8]
Noise2Noise [9]

## Slide 23: Test clustering using denoised images
Using reconstructions for ISAC
Using original image for ISAC
Using original image to average

## Slide 24: Test Moment of Inertia vs Reference free aignment
Betagal
Original + r-SUP
Moment of Inertia align to same direction + r-SUP
Ref-free alignment [10] + r-SUP
2SDR Ref-free alignment + r-SUP

## Slide 25: Reference
[1] Rosenthal, Peter B., and Richard Henderson. "Optimal determination of particle orientation, absolute hand, and contrast loss in single-particle electron cryomicroscopy." Journal of molecular biology 333.4 (2003): 721-745
[2] Baker, Lindsay A., et al. "The resolution dependence of optimal exposures in liquid nitrogen temperature electron cryomicroscopy of catalase crystals." Journal of structural biology 169.3 (2010): 431-437.
[3] Grant, Timothy, and Nikolaus Grigorieff. "Measuring the optimal exposure for single particle cryo-EM using a 2.6 Å reconstruction of rotavirus VP6." Elife 4 (2015): e06980.
[4] Scheres, Sjors HW. "Beam-induced motion correction for sub-megadalton cryo-EM particles." Elife 3 (2014): e03665.
[5] Zivanov, Jasenko, Takanori Nakane, and Sjors HW Scheres. "A Bayesian approach to beam-induced motion correction in cryo-EM single-particle analysis." IUCrJ 6.1 (2019).
[6] Bhamre, Tejal, Teng Zhang, and Amit Singer. "Denoising and covariance estimation of single particle cryo-EM images." Journal of structural biology 195.1 (2016): 72-81.
[7] Landa, Boris, and Yoel Shkolnisky. "The Steerable Graph Laplacian and its Application to Filtering Image Datasets." SIAM Journal on Imaging Sciences 11.4 (2018): 2254-2304.
[8] Tegunov, Dimitry, and Patrick Cramer. "Real-time cryo-EM data pre-processing with Warp." BioRxiv (2018): 338558.
[9] https://github.com/ZhenyuTan/Noise2Noise-Cryo-EM-image-denoising
[10] Penczek, Pawel, Michael Radermacher, and Joachim Frank. "Three-dimensional reconstruction of single particles embedded in ice." Ultramicroscopy 40.1 (1992): 33-53.