## Slide 1: Cryo-EM 3D-processing Strategy Summary
Hsin-Hung, Lin
Wei-Hau, Chang
2017.04.26

## Slide 2: Outline
1.Motion Correction
  Movies Micrographs to Micrograph
2. CTF Calibration
  what is CTF
  Conventional EM vs. Phase Plate
3. Particle Picking
4. Several Rounds 2D classification
  kick out garbage
  kick out bad particle
5. Ab-initial model
  cryoSPARC vs. Prime
6. 3D Classification
  Highly Convergence
  Non Convergence
  Heterogeneous Structure
7. Post-processing & FSC

## Slide 3
Motion Correction

## Slide 4
Motion Correction
Before Correction
After Correction

## Slide 5
CTF Calibration

## Slide 6
Defocus : 0.8um
Defocus : 1.75um
Imaging in Different Defocus

## Slide 8
Defocus : 0.8um
Defocus : 1.75um
Camera

## Slide 9
XSV CEM Talos-Artica --- Defocus : 0.8um
Defocus : 1.75um
Conventional cryo-EM vs. Phase Plate
TFII-F Volta PhasePlate --- Defocus : 0.7um

## Slide 10
Conventional cryo-EM vs. Phase Plate
XSV CEM Talos-Artica
TFII-F Volta PhasePlate

## Slide 11
Particle Picking

## Slide 12
Reference
Auto-picking Program
Relion_autopick (GPU, Reference, any size micrograph)
Gautomatch (GPU, Reference Free, square size micrograph)
DoG-picker (Difference of Gaussians image transform)

## Slide 13
Several Rounds 2D classification

## Slide 14
2D Classification – First Round after Autopicking
(Data Bin 3 to accelerate processing)
Particles Num : 83766

## Slide 15
2D Classification – Round 2
(Data Bin 3 to accelerate processing)
Particles Num : 53069

## Slide 16
2D Classification – Round 3
(Data Bin 3 to accelerate processing)
Particles Num : 41896

## Slide 17
2D Classification – Round 4
(Data Bin 2 to accelerate processing)
Particles Num : 40758

## Slide 18
2D Classification – Round 5
(Original scale to accelerate processing)
Particles Num : 37917

## Slide 19
2D Classification – Round 6
Particles Num : 31912
(Original scale to accelerate processing)

## Slide 20
30096 particles in 110 classes for initial 3D by Prime
Relion tag: job79
2D Classification – Final Selection of classes

## Slide 21
Ab-initial 3D model

## Slide 22
Prime Ref-free Initial 3D
3D Refine by Relion
180˚
180˚
3D Ab-Initial Model – Prime + Relion Reference Free Reconstruction
Relion tag: job81

## Slide 23
3D Ab-Initial Model – cryoSPARC
9000~ particles in TFII-F VPP data

## Slide 24
3D Classification

## Slide 25
3D Classification – Highly Convergence
86.7%
6.1%
7.2%

## Slide 26
Class01
Class02
Class03
Class04
Class05
Class06
PDB Model:1wcm
3D Classification – Non Convergence
Average Partition : ~16%

## Slide 27
3D Classification – Heterogeneous Structure
Class4
EstimatedR:11.67Å
Class2
EstimatedR:12.57Å
Class1
EstimatedR:10.90Å
Class3
EstimatedR:11.67Å
Relion tag: job82

## Slide 28
Post-processing & FSC

## Slide 29
cryoSPARC Sharpen
180˚

## Slide 30
XSV Virus Quick Result
--CorrectedFourierShellCorrelationPhaseRandomizedMa
--FourierShellCorrelationMaskedMaps
--FourierShellCorrelationUnmaskedMaps