## Slide 1: DNA Base-calling Project
2021/12/21
Cheng-Yu Hung

## Slide 2: Optical System overview

## Slide 3: Algorithm Overview
1. Find Candidates
and get trace

## Slide 4: Algorithm Overview
2. Designate DNA Label(ATCG)
1. Find Candidates
and get trace

## Slide 5: 1. Get candidate Workflow
(A) Shift adjustment
(B) Denoise image
(C) Pick candidates
(D) Get Trace

## Slide 6: (A) Shift adjustment
(A)
(B)
(C)
(D)
Because the images have a slightly shift, I need to make some preprocessing on the images.
I use the same method in motion corr 2, as below
Let be the shift between and ,
be the shift between and Obviously, we have
Since the images are noisy, we can’t directly calculate .
We can instead compute from with over-fitted linear equations .
By solving the equation, we have with

## Slide 7: (A) Shift adjustment -Result
(A)
(B)
(C)
(D)
A03
A04

## Slide 8: (B) Denoise image
(A)
(B)
(C)
(D)
Bin for every 5 frames

## Slide 9: (B) Denoise image
(A)
(B)
(C)
(D)
Conv w/ 3x3 avg
Conv w/ 30x30 avg
Subtract

## Slide 10: (B) Denoise image
(A)
(B)
(C)
(D)
Applying OTSU threshold

## Slide 11: (B) Denoise image - Morphology
(A)
(B)
(C)
(D)
Dilation
Erosion
Where
Dilation

## Slide 12: (B) Denoise image - Morphology
(A)
(B)
(C)
(D)
Dilation
Erosion
Where
Erosion

## Slide 13: (B) Denoise image - Morphology
(A)
(B)
(C)
(D)
Opening
Closing
Opening

## Slide 14: (B) Denoise image - Morphology
(A)
(B)
(C)
(D)
Opening
Closing
Closing

## Slide 15: (B) Denoise image
(A)
(B)
(C)
(D)
Doing Opening (morphology)
Binary image
Clean Spot image

## Slide 16: (B) Denoise image
(A)
(B)
(C)
(D)
Original image
Clean Spot image

## Slide 17: (C) Pick candidates
(A)
(B)
(C)
(D)
Clean Spot images
Summation

## Slide 18: (C) Pick candidates
(A)
(B)
(C)
(D)
Find the center
Filter out those points that are bright constantly.

## Slide 19: (D) Get Trace
(A)
(B)
(C)
(D)

## Slide 20: Appendix OTSU method
This threshold is determined by minimizing intra-class intensity variance, or equivalently, by maximizing inter-class variance.
OTSU is equivalent to a globally optimal k-means performed on the intensity histogram.